Supplemental Figure

Figure S1. ImageJ macro for performing multi-image analysis.

For each analysis, set the area within the red frame as follows:

Background image analysis: Area within the red frame (A, B, "raw") = (0, 65535, "raw")

Fluorescent dextran image analysis: Area within the red frame (A, B, "raw) = (BG, BG x a, "raw")

Modal gray value calculation: Area within the red frame (A, B, "raw) = (BG x a, 65535, "raw");

run ("Set Measurements...", "area mean modal min median limit redirect=None decimal=3");

Figure S2. Fluorescence microscope imaging conditions and data acquisition. Data acquisition method and shooting conditions using a fluorescence microscope DM6B and a digital camera DFC9000GT. A 5x lens is used to capture an overall image of the heart tissue, and the area to be scanned is enclosed. Then, a 40x lens is used, and after adjusting the focus at 2-3 points, the image is captured.

Figure S3. Acquired images. Images of cardiac tissue administered with DPBS (top) and fluorescent dextran (bottom). (Left) Image obtained by fluorescence microscopy using LAS X. (Center) Image read from the LAS X image in ImageJ as 16-bit grayscale. (Right) Image after background correction.

Figure S4. Effect of GSL administration on the brightness of intravascular fluorescent dextran. Three to seven sections are prepared from each mouse, and images of 20 regions of the left ventricular wall are selected from each section (Figure 3A). Data are collected from three mice per group. Background correction values of a = 1.8, 2.0, and 2.2 are set, and the mean intensity per pixel of the extracted images is calculated, and the most frequent value (the modal gray value) is used as the intravascular dextran intensity for each region (ImageJ macro: Figure S1). Statistical analysis is performed using all modal gray values for each group (Table S1), excluding images for which no intensity could be obtained.