## Calculator Template Example
Acid Ceramidase Activity Assay Reagent Calculator
Step 1: How many samples do you have?
# Samples (including 1 sample blank/96-well plate)? |  | 25 | insert # of samples (the rest of the calculator will automate calculations)
# Wells required for samples (plated in triplicate) in 96-well plate |  | 75
# Wells required for samples + standard curve (plated in duplicate) |  | 91
| Total # of wells required for assay | 91
Step 2: Prepare 'Assay Solution' (5µM Rbm14-12 substrate in 25mM sodium acetate buffer)
μL of 4mM Rbm14-12 substrate |  | 11.375
μL of 25mM sodium acetate buffer (pH 4.5) |  | 6813.625
| Total volume of 'Assay Solution' prepared (µL) | 6825
| Total volume of 'Assay Solution' per well (µL) | 75 | Add 75µL of 'Assay Solution' to each well using multi-channel pipette after 25µL of sample (diluted in 0.2M sucrose) has been plated
Step 3: Add methanol to each well to quench enzymatic reaction
μL of Methanol |  | 4550 | After substrate incubation, add 50µL of methanol to each well using multi-channel pipette, including standard curve wells
| Total volume of methanol required (µL) | 4550
| Total volume of methanol per well (µL) | 50
Step 4: Add sodium periodate solution to oxidize reaction intermediate
mg of sodium periodate (2.5mg/mL) to be added to glycine/NaOH buffer |  | 22.75
mL of 2.5mg/mL sodium periodate in 100mM glycine/NaOH buffer (100μL per well) |  | 9.1 | Add 100µL of sodium periodate solution to each well after 50µL of methanol is added, including standard curve wells
| Total volume of 2.5mg/mL sodium periodate solution (mL) | 9.1 | The total volume in each well at the end of the assay should be 250µL